## Slide 1
Biomedical Engineering at Chung Yuan Christian University
Smart Phone based Tocodynamometer
Notes: 行動版子宮收縮測量器

## Slide 2: Group Memebers & Project Positioning
Group Leader: Yi Hsieh (Cary)
Formatting research documents, Pointing sectional assignments, Coordinating technical developments from each part, & SDK Developing (User Interface Display )
Member: Yu-Chun Wang
Scientific Journal Research, Coding with App Inventor, & IPMC signals acquiring
Member: Hsiang-Chun Liao
Scientific Journal Research & Microprocessor Development
Member: Tsung- Ying Lee
Scientific Journal Research, Referencing data collection, & Circuit Design
Assistance of Apprenticeship: pending
Meeting Recording & Documentary
Members Basic Information

## Slide 3
Due: May 18th, 2015
Goals
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
The goal of this project is to use a smart phone with a built-in accelerometer and a software application to act as a toco transducer and recording tocodynamometer. The device would be used to record the duration of uterine contractions and the duration between them.
-From EWH Projects that Matter

## Slide 4: Project Definition
Limitation: The essentialness of Tocodynamometer is low and has no point to be established without fetal heart rate detector, which normal fetal monitor does. Low profit in the environment in Taiwan.
Advantage: It is convenient and useful for the rural area where hospital and living place are far from each other. Suitable design for third world countries.
- 許文良婦產科<徐樂行醫師>
Meeting the requirement in developing world

## Slide 5
Date of Modification : 5th Jan, 2015
Agenda
Theory of Unterine Activity
Our Approach for this Project
1
2
3
4
5
6
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
Introduction to Tocodynamometer
Difficulty and Solutions
Expecting Works for Next Semester
Source of Reference

## Slide 6: Theory of Unterine Activity
Figure extracted from Discover Magazine, Healthy Pregnancy

## Slide 7
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
Two types of information can be ascertained from uterine contraction monitoring:
Quantization of uterine activity (the strength of contractions)
Contraction patterns (e.g. how many contractions, how often they are occurring).
Figure Extracted from Sandy Warner RNC-OB, MSN
- Figure Extracted from Center for Experiential Learning, Uterine Contraction
Notes: 子宮收縮測量器會顯示的兩種資訊:
收縮頻率
收縮的樣態

## Slide 8: Electronic Assessment of Uterine Contractions
Electronic assessment monitoring of Contractions is done with:
  Tocodynamometer when placed on upper portion of uterus frequency and duration of contractions can be determined
  Intrauterine pressure catheter (IUPC) catheter placed in uterus measures pressures in the uterus before during and after contraction is over in mmHg. Palpation between contractions still necessary.

## Slide 9: Timing Contractions: Frequency, Duration & Intensity
To assess (time) frequency of UC
  beginning of one contraction until beginning of next contraction
To assess duration
  from beginning of contraction until end of contraction
To assess intensity
  palpate fundus of uterus to determine firmness of contraction

## Slide 10: Timing Contractions: Uterine Resting Tone
To assess relaxation
    Palpate fundus of uterus (between UC). Uterus should be very relaxed (soft). If not soft, then not relaxed. Between UC is when fetus gets blood through spiral arteries of uterus. Resting tone palpation needs to be done with either external or internal UC monitoring

## Slide 11: Assessment – Uterine Contractions by Palpation
Contraction
Intensity
  Mild
  Moderate
  Strong
Corresponds to Palpation of
Body Part
  Tip of nose
  Chin
  Forehead
Place hand on fundus of uterus to assess uterine contractions. Keep hand on fundus throughout
several contractions to determine difference between relaxation and contraction increasing
in intensity to peak and then decreasing in intensity to relaxation. Use key above.

## Slide 12: Intrauterine Pressure Catheter
Requires ROM
Pressure of contractions measured in mm Hg
Provides measurement of strength of UC
Notation must be made of resting tone (should be below 20 mm Hg)
Can be re-zeroed if baseline increases
More accurate due to direct measurement of intrauterine pressure

## Slide 13: Terminology for Describing Uterine Activity
Normal
Hypotonus and Hypertonus
Multiphasic – dysfunctional
Tachysystole

## Slide 14: Normal, Hypotonic & Hypertonic Contractions
Bell shaped
Uncoordinated contraction pattern
Weak contraction

## Slide 15: Uterine Hypertonus
Hypertonus - insufficient relaxation between contractions.
Uterus not soft between contractions
If IUPC in place pressure between UC is  20-25 mmHg.

## Slide 16: Multiphasic Contractions – (coupling or tripling) - may be caused by over saturation of uterine oxytocin receptor sites
Notes: Decreasing or stopping pitocin and IV fluid bolus will correct

## Slide 17: Tachysystole
> 5 in 10 minutes contractions averaged over a 30 minute window
  Always in relation to the presence or absence of decelerations.
  Applies to both spontaneous or stimulated labor
  Interventions MUST be performed AND documented
    Appropriate management of pitocin is essential

## Slide 18: Tachysystole

## Slide 20
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
康琳醫師指出：「懷孕週數和宮縮種類，才是判別孕媽咪及胎兒是否有危險的二大重要依據。」 --- 成大醫院婦產部主治醫師康琳 2008 《媽媽寶寶雜誌》
類別比一比 | ＊假性宮縮 | ＊早產宮縮
收縮頻率 | 不規則 | 規則
收縮強度 | 會變弱 | 會漸強
收縮間隔 | 會自行拉長，消失 | 會越來越短
痛的位置 | 局限下腹部 | 整個子宮（連腰、背也痠痛）
子宮頸變化 | 不會有變化 | 會擴張（頸口變薄變軟）
媽媽的感覺 | 休息會改善 | 持續痛覺（休息也不會好）
宮縮的頻率若規則，且每5～8分鐘就發生乙次，每次持續1～2分鐘，此情形若孕婦已經懷孕達37週，則可能是產兆（真性陣痛），需到醫院評估是否需入院待產；若未達37週，則可能早產（早產宮縮），應盡速就醫，因為可能需要安胎。

## Slide 21: Introduction to Tocodynamometer
-Figure extracted from Philips Avalon Fetal Monitor

## Slide 22
Tocodynamometer Mechanism
1
For measuring intra-amniotic pressure through the abdominal wall of obstetric patient
Tocography
It is an electrodiagram which is based on recording electrical uterine activity
Electrohysterogram
3
Figure 1. Waveform Comparison
2
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
Electrohysterogram & Tocography (1/3)
The contractions curve obtained from EHG signal (V3-V0) and Toco signal
Reference: ADAM MATONIA, KRZYSZTOF HOROBA, et al, 2006, Monitoring Contraction Activity of Uterine Muscle

## Slide 23: United States Patent
Tocodynamometer device structure
Electrohysterogram & Tocography (3/3)
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health

## Slide 24: Commercial Available Product #1
Grafco - Specification

## Slide 25: Commercial Available Product #2
Philips/HP - Specification

## Slide 26: Our Approach for Smart-Phone Based Toco
Quality
Dependability
Durability

## Slide 27
Smart Phone Accelerometer
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
Mean (SD) accelerations and sensitivity
Three Dimensional Axis (Tri-Axial)
2
1
Reference: Department of Industrial and Manufacturing Engineering, et al, 2013, Sensitivity of Tri-Axial Device
Goals & Target towards the Project (2/2)

## Slide 28
Page of User Profile
Button Function
Ok：Apply
Auto：Resume Saved user
Exit：Close the application
Save：Save user
Delete : Delete saved user
Reset：1.Delete all blanks by one click. 2.Delete all saved user by long click.
Name + Number of pregnancies

## Slide 29
Main Page
Start recording
Clear all data by long click
Turn to records page
Close the application
Change user
Condition of Uterine contraction

## Slide 30
Data page
Save to smartphone’s data base
Upload to Cloud
Auto contact with the emergency contact person you have set previously

## Slide 31: Difficulty & Solutions
Calibration Process (No source of Phantom)
Until Midterm Presentation

## Slide 32
Solutions
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
Borrow Commercial Device from Equipment Supplier
Collaborate with OB/GYN Clinic
Construct a Force Pressure Sensing Device and Follow the spec on clinical Contraction threshold
P.A
P.B
P.C

## Slide 33
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
Plan C (1/2)

## Slide 34
Biomedical Engineering at Chung Yuan Christian University | Engineering World Health
Plan C (2/2) . Apply on Arduino

## Slide 35: Source of Reference
Last Updated on: Jan 5th, 2015

## Slide 36
THANK YOU